## Worksheet
Parameter | Variation range
Initial integrated RC power, MW | ±5%
Residual power, MW | ±25%
The frequency of MCP-1 rotation, rpm | ±3.75
The frequency of MCP-2 rotation, rpm | ±3.75
Feedwater flow rate in SG, kg/s | ±5.8
Speed of CPS rods, cm/s | ±5%
Feedwater temperature in SG, °С | ±3.5
Initial diameter of fuel pellets, mm | –0.15
Multiplier applied to the wall heat transfer closure relation in SG from the water side or in AHE from the air side, rel. units | ±30%
Multiplier applied to the wall friction closure relation in SG from the water side or in AHE from the air side, rel. units | ±30%
Multiplier applied to the interfacial friction closure relation in SG for water, rel. units | ±30%
Multiplier applied to the wall heat transfer closure relation in RC, IHE and SG from the sodium side, rel. units | ±20%
Multiplier applied to the wall friction closure relation in RC, IHE and SG from the sodium side, rel. units | ±10%
Thermal conductivity of fuel, W/m/K | ±20%
Thermal conductivity of the gas gap in the fuel rod, W/m/K | ±10%